| Section-1: Contact Information |  |  |
| --- | --- | --- |
| 1 | Lab Name: |  |
| 2 | Address of Lab: |  |
| 3 | Post Code: |  |
| 4 | Telephone: |  |
| 5 | Email: |  |

Against each listed equipment, mention the quantity available at the applicant lab and also mention last calibration date, and next due date of calibration. These equipment are required to be available at each applicant lab, irrespective of the scope of testing applied.

| Sr. | Equipment Name | Quantity Available | Last Calibration Date | Next Calibration Due Date |
| --- | --- | --- | --- | --- |
| 1 | High precision AC power supply (0-300V) capable of providing AC power at 50 Hz ±1% or as mentioned otherwise or as per requirement of standard |  |  |  |
| 2 | Air Conditioning System |  |  |  |
| 3 | High precision desktop multimeter |  |  |  |
| 4 | Temperature & humidity sensors |  |  |  |
| 5 | Protective gear including goggles and protective gloves |  |  |  |
| 6 | Emergency cut-off |  |  |  |
| 7 | Fire safety (fire extinguishers) |  |  |  |
| 8 | Smoke detectors |  |  |  |
| 9 | Exit signs (illuminated) |  |  |  |
| 10 | Test methods and checklists should be displayed |  |  |  |
| 11 | Computer(s) with allied accessories & internet connectivity |  |  |  |
| 12 | Printer(s) with connectivity to computer |  |  |  |
| 13 | Weighing scales of different capacities |  |  |  |
| 14 | Backup power source including UPS and Generator of adequate size. |  |  |  |

Note: Where calibration data is not applicable, explicitly mention “Not applicable”.